Backup Generator Population Jumps 14 Percent in South Coast in 2022

# Overview

This analysis follows a series of studies of examining the backup generator (BUG) population in California, including located in the South Coast Air Quality Management District (SCAQMD).  In 2021, there were 14,785 BUGs operating in the District. Collectively, these generators had an estimated capacity of 7.34 gigawatts and the potential to emit an estimated 51,311 metric tons of carbon dioxide (MTCO2) a year (Table 1).

Table 1: SCAQMD BUGs Portfolio, May 2021

| Fuel | Units | Capacity (Megawatts) | Total Operation (Hours) | Emissions (MTCO2) |
| --- | --- | --- | --- | --- |
| Diesel | 13,043 | 7,065.9 | 121,089.8 | 48,379 |
| Liquified Petroleum Gas (LPG) | 395 | 46.2 | 3,667.1 | 1,486 |
| Gasoline | 105 | 10.1 | 974.8 | 63 |
| Natural Gas | 1,029 | 178.9 | 9,553.1 | 1,087 |
| Heavy Fuel Oil (HFO) | 97 | 19.2 | 900.5 | 36 |
| Methanol | 19 | 2.8 | 176.4 | 22 |
| Other fuel | 97 | 21.3 | 900.5 | 237 |
| Total | 14,785 | 7,344 | 137,262 | 51,311 |

Compared with the previous analysis, BUG population in South Coast has significantly expanded over the past year, growing from 14,785 in 2021 to 16,828 today, a 13.8 percent jump (Table 2).

Table 2: SCAQMD BUGs Portfolio, October 2022

| Fuel | Units | Capacity (Megawatts) | Operating Hours | Emissions (MTCO2) |
| --- | --- | --- | --- | --- |
| Diesel | 14,010 | 7,445.7 | 206,401 | 62,932 |
| LPG | 429 | 53.7 | 62,667 | 25,633 |
| Gasoline | 205 | 18.7 | 881 | 57 |
| Natural Gas | 1,435 | 293.2 | 81,657 | 7,177 |
| HFO | 109 | 16.1 | 1,428 | 57 |
| Methanol | 3 | 1.0 | 9 | 1 |
| Other | 637 | 197.7 | 22,434 | 3,864 |
| Total | 16,828 | 8,026 | 375,477 | 99,720 |

Last year’s increase follows a similar, if somewhat muted, pattern of annual double digit percent increases in South Coast’s BUG population.  In 2020 there were 12,104 back-up generators totaling 2,697 megawatts (MW) of capacity in the South Coast Air Quality Management District.  Just a year later this population had grown to 14,785 BUGs, with 7,344 MW capacity, a 22 percent increase in the fleet.

METHODOLOGY

The initial public data request was submitted to SCAQMD on March 17, 2021, requesting information on the universe of permitted backup gensets in the District., Updated data was requested and provided on October 25, 2022.

SCAQMD only reports general descriptions for genset sizes (e.g., 50 to 500 horsepower, greater than 500 horsepower, and emergency generators). Different size classifications were assigned a horsepower (HP) value based on the 2021 averages from the genset portfolio located in the Bay Area Air Quality Management District, as shown in Table 3 below. Horsepower figures were converted to estimated megawatt capacity by multiplying by 0.7457 and dividing by 1,000.

Operating hours and emissions rates were also estimated based on averages from the BAAQMD portfolio. The accuracy of relying on assumptions derived from the Bay Area is unknown, but likely to be an approximation at best.  Differences in outage rates, particularly related to Public Safety Power Shutoffs, risk perceptions and risk tolerances, especially associated with the reliability needs of distinct economic segments, as well as the underlying characteristics of the economy, influence BUG population and operating characteristics.

Table 3: Average Horsepower, Operating Hours, and Emissions Figures for SCAQMD based on BAAQMD Portfolio

| Fuel | HP Class | Average Horsepower | Operating Hours | MT/op hours |
| --- | --- | --- | --- | --- |
| Diesel | 50-500 HP | 218.3 | 17.7 | 0.155 |
| Diesel | >500 HP | 1618.7 | 9.3 | 0.829 |
| Gasoline | 50-500 HP | 115.4 | 4.3 | 0.065 |
| Gasoline | >500 HP | 830.0 | 4.3 | 0.065 |
| Natural Gas | 50-500 HP | 124.8 | 65.6 | 0.081 |
| Natural Gas | >500 HP | 1102.0 | 8.5 | 0.376 |
| HFO | 50-500 HP | 98.5 | 15.0 | 0.040 |
| HFO | >500 HP | 700.0 | 3.3 | 0.040 |
| Methanol | 50-500 HP | 153.1 | 8.5 | 0.095 |
| Methanol | >500 HP | 606.4 | 0.1 | 0.402 |
| LPG | 50-500 HP | 111.6 | 155.1 | 0.413 |
| LPG | >500 HP | 687.5 | 62.6 | 0.311 |
| Diesel | Emergency | 1618.7 | 9.3 | 0.829 |
| Other | 50-500 HP | 137.0 | 44.4 | 0.1 |
| Other | >500 HP | 924.1 | 14.7 | 0.3 |
| Other | Emergency | 1618.7 | 9.3 | 0.8 |

This analysis is a continuation of work initially conducted pro bono by Steven Moss, M.Cubed Partner and Andy Bilich, Research Associate, who were concerned about what appeared to be rapid increases in diesel BUG deployment in San Francisco, where in 2017 a generator was sited near the high school that Moss’ daughter attended. Bloom Energy funded this update study.

May 2021.

October 2022.

M.Cubed, Diesel Back-Up Generator Population Grows Rapidly in the Bay Area and Southern California, August 2021.

Public Records Request PRR #1405618.

This dataset excludes small unpermitted BUGs, of the kind used to support residences. It is likely that the population of these generators has similarly increased over the past couple of years.

Public records request #1415085

http://www.lgsec.org/wp-content/uploads/2020/05/BUGs-in-5-CA-Air-Districts.pdf.

For the “Emergency” HP class the Diesel >500 HP values were utilized. Where values weren’t available for the higher horsepower figures, the lower horsepower averages were utilized.

While these estimates are representative of the BUGs portfolio in the District, and accurately reflect trends over time, the datasets are subject to edit/change by the District.